Automated External Defibrillator

Program

Environmental Health & Safety

Emergency Management

February 2011, Revised March 2023

I. Purpose and Scope

This document serves to set forth responsibilities, inspections, recordkeeping and training related to the use and care of automated external defibrillators (AEDs) at Slippery Rock University. This document was created in February 2011, and replaces any and all prior programs that address AED units on campus.

II. Program Administration/Medical Oversight

The Slippery Rock University AED Program is managed under the administrative division by Environmental Health and Safety/Emergency Management (EHS/EM). The AED Coordinator is the primary liaison with the Medical Director. Medical Oversight is provided by the attending physician at the SRU Department of Student Health Services.

AED Coordinator: Paul M. Novak, Executive Director - Phone (724) 738-2465

Alternate AED Coordinator: Joel Brown, Assistant Director – Phone (724) 738-2466

III. Definitions

(A) AED - An AED (Automated External Defibrillator) is used to treat victims who experience sudden cardiac arrest and is only to be applied to victims who are unconscious, not breathing normally and show no signs of circulation. The AED will analyze the heart rhythm and advise the operator if a shockable rhythm is detected.  If a shockable rhythm is detected, the AED will charge to the appropriate energy level and advise the user to deliver a shock with voice instructions. They do not require any decision making or interpretations of symptoms.

(B) Sudden Cardiac Arrest - The unexpected and abrupt stoppage of the heart due to ventricular fibrillation.

(C) Ventricular Fibrillation - An abnormal heart rhythm often seen in sudden cardiac arrest. In this state, rhythm is chaotic and the heart cannot effectively pump blood.

(D) CPR, Cardio Pulmonary Resuscitation - The application of learned techniques in order to maintain basic life support.

(E) Heart Attack - A heart attack is a condition in which the blood supply to the heart muscle is suddenly blocked, resulting in the death of the heart muscle. Heart attack victims usually, but not always, experience chest pain and usually remain conscious. Heart attacks may sometimes lead to Sudden Cardiac Arrest.

(F) Responder - A person trained in CPR, First Aid and use of an AED.

IV. AED Procurement

When procurement of an AED is identified as warranted, Environmental Health & Safety/Emergency Management will be notified in writing and will process a purchase requisition and facilitate acquisition of the unit with appropriate cabinet and signage and ensure it is added to the master inventory of AED units on campus.  EHS/EM will facilitate its installation through a work order to FP&ES.

At the present time, EHS/EM is funded for program management and maintenance not for initial procurement of new AED units.

V. AED Installation

Placement of AED units are generally recommended at or near the main entrance to a building.  EHS/EM will work with building occupants should an alternative location be indicated.

V. AED Inventory

EHS/EM shall maintain an inventory of all AED units on campus that includes a unique identifying tracking number, serial number, and location (See Appendix A)

VI. Procedures for AED Use – First Responders

(A) Notify University Police Dispatch by calling 724-738-3333; if calling from a campus phone simply call extension 3333 advising an AED is in use and to request emergency medical services.

(B) Ensure Personal Protective Equipment (PPE) is present and used to address potential transmission of blood borne pathogens (barrier mask & latex gloves).

(C) Assess the victim’s condition and begin CPR and AED use based on specific training received.

(D) Continue life saving techniques and leave the AED on until local EMS arrives, at which time they may direct you to aid them in on-going procedures or fully relieve you.

(E) Document the use of the AED using an AED Incident Report Form and be prepared to participate in a debriefing of the incident. (See Appendix B)

(F) EHS/EM will facilitate a post-incident review with involved parties, and download and store information contained on the AED unit relative to the incident.

(G) Following AED use, the electrodes need to be replaced prior to returning AED unit to service.

(H) Upon completion of the incident, user shall download and fill out an AED Incident Form (See Appendix B) and submit to the EHS/EM Executive Director. Copies will be forwarded to the SRU Health Services

If the unit cannot be returned to service immediately, post the “Temporarily out of Service” placard (See Appendix C) in the cabinet and notify University Police Dispatch at extension 3333 to facilitate the needed repairs. EHS/EM shall facilitate maintenance and pad replacement for the AED units.

(I) In the event delivery of first aid/ CPR or use of an AED is provided by a good Samaritan, University Police will obtain the name and contact information and provide to EHS/EM, who will contact the Samaritan directly to ensure appropriate documentation is obtained.

VII. Training

There are no training requirements to use an AED for the general population.  However, all SRU responders as part of their job duties shall be certified in CPR and First Aid and trained in AED use.  Training should conform to the American Red Cross or American Heart Association standards.

Certifications in CPR and First Aid must be kept current and at a minimum, AED refresher training must be completed every two years.  AED users/responders are required to maintain current certifications.

SRU makes CPR/First Aid and AED training available to interested employees and students on an annual basis.

VIII. AED Maintenance and Inspection

AED units perform self-tests which automatically evaluate electronics, battery, electrodes and high voltage circuitry. Manufacturer’s guidance on maintenance and inspection shall be followed. In addition, FP&ES will be responsible for facilitating monthly and annual inspection of the AED units.

CAUTION: Some AED’s have a local alarm. University Police Dispatch should be notified at ext. 3333 before opening an AED cabinet for maintenance and inspection purposes.

- Monthly Inspection Process

• Verification the status indicator is GREEN. If the indicator is RED, Technical Support shall be contacted and repairs facilitated. The AED Unit should be tagged as out of service until such time repairs are made

• Ensure a backup set of electrodes are present. If not, purchase through Manufacturer Customer Service.

• If the unit cannot be returned to service immediately, post the “Temporarily out of Service” placard (See Appendix C) in the cabinet and notify University Police Dispatch at extension 3333 to facilitate the needed repairs. FP&ES shall facilitate maintenance and pad replacement for the AED units.

- Annual Inspection Process:

- Open the AED lid, remove the electrodes and close the lid. Confirm that the indicator turns RED (you must enable the electrode self-test for this evaluation.

- Open the lid and confirm that the electrode indicator is lit.

- Reconnect the electrodes and close the lid and verify the indicator turns GREEN.

- Gently clean the surface of the AED case with a damp sponge or with a cloth and mild soap.

X. Program Review

EHS/EM shall document a review of this AED program on an annual basis and make adjustments and modifications where indicated.

Appendix A

AED Inventory

INSERT

Appendix B

Slippery Rock University

Environmental Health & Safety/Emergency Management

AED Incident Form

AED Users: Every incident where an AED Unit is used shall be documented by completing this form in its entirety and submitting to FP&ES within twenty-four (24) hours of the incident.

Name of Patient____________________________ Phone Number_______________

Male/Female (Circle One) Date of Birth_____________ Age______

Date/Time of AED Use____________ AED Serial Number: _________________

Location of Incident______________________________________________________

Description of Incident:

Were any witnesses present? Yes_____ No_____

If yes, provide contact information    ______________________________

______________________________

______________________________

Identify EMS Unit that responds/transports________________

Time and destination (if available) of transport______________________________

Name of AED Operator__________________________ Phone_______________

AED Operator’s Signature_______________________ Date________________

Appendix C

Temporarily

Out of Service

___Scheduled Maintenance

___ Repair

___ Other

Additional Comments:

Affix this notice to the AED and notify University Police at extension 3333.